**Single Use Medical Device Posters**

**Answer Sheet**

|  |  |
| --- | --- |
| **Poster** | **Answer: Is It Single Use?** |
|  | Can be eitherVacutainer for blood letting/draws* Vacutainer’s are available as both single-use and re-usable, therefore it is imperative you:
* Check the manufacturer’s instruction for use
* Check the packaging
* Look for the single-use symbol:

 |
|  | YESSyringe* Syringes are not for reuse under any circumstances
* New needle, New syringe, Every time!
* Link to information: <http://www.albertahealthservices.ca/hp/hp-dr-syringe-reuse.pdf>
 |

|  |  |
| --- | --- |
|  | YESStaple Remover* Metal does not mean a device can be reprocessed or sterilized
* Though this device is often thought to be reusable:
* Check the manufacturer’s instructions for use
* Check the packaging
* Look for the single-use symbol:

 |
|  | YESCord Clamp Remover* Check the manufacturer’s instructions for use
* Check the packaging
* Look for the single-use symbol:

 |