**Single Use Medical Device Posters**

**Answer Sheet**

|  |  |
| --- | --- |
| **Poster** | **Answer: Is It Single Use?** |
|  | Can be either  Vacutainer for blood letting/draws   * Vacutainer’s are available as both single-use and re-usable, therefore it is imperative you: * Check the manufacturer’s instruction for use * Check the packaging * Look for the single-use symbol: |
|  | YES  Syringe   * Syringes are not for reuse under any circumstances * New needle, New syringe, Every time! * Link to information: <http://www.albertahealthservices.ca/hp/hp-dr-syringe-reuse.pdf> |

|  |  |
| --- | --- |
|  | YES  Staple Remover   * Metal does not mean a device can be reprocessed or sterilized * Though this device is often thought to be reusable: * Check the manufacturer’s instructions for use * Check the packaging * Look for the single-use symbol: |
|  | YES  Cord Clamp Remover   * Check the manufacturer’s instructions for use * Check the packaging * Look for the single-use symbol: |